## SWIS Examples
Min Core Version | Function Type | Function Name | SWQL Example | SWQL Result | Value Information
2011.1 | Check Values | Min | SELECT min(SWISColumn) as ResultColumn FROM SWISTable |  | Minimum column value
2011.1 | Check Values | Max | SELECT max(SWISColumn) as ResultColumn FROM SWISTable |  | Max value of column
2011.1 | Check Values | Avg | SELECT avg(SWISColumn) as ResultColumn FROM SWISTable |  | Average of all values
2011.1 | Check Values | Sum | SELECT sum(SWISColumn) as ResultColumn FROM SWISTable |  | Sum of all column values
2011.1 | Check Values | Count | SELECT count(SWISColumn) as ResultColumn FROM SWISTable |  | Count of number of results
2011.1 | Check Values | Abs | SELECT abs(-1) as ResultColumn FROM SWISTable | 1 | Absolute as in never negative
2011.1 | Check Values | IsNull | SELECT Restart, IsNull(restart, '9/25/2015 3:49:54') as ColumnResult FROM Orion.Engines | NULL, 9/25/2015 3:49:54 AM
2011.1 | Date Time | Get Date | SELECT getdate() as ResultCoumn FROM Orion.Engines | 2015-09-25 08:53 | Time derived from SQL Server time zone settings
2011.1 | Date Time | GetUtcDate | SELECT GetUtcDate() as ResultColumn FROM Orion.Engines | 2015-09-25 15:54 | Time derived from SQL Server time zone settings
2011.1 | Date Time | DateTime | SELECT KeepAlive FROM Orion.Engines where KeepAlive > DateTime('9/25/2015 3:49:54') | 2015-09-25 15:55 | Time derived from SQL Server time zone settings
2011.1 | Date Time | ToLocal | SELECT Tolocal(getutcdate()) as ResultColumn FROM Orion.Engines | 9/25/2015 8:50:37 A M | Time derived from SQL Server time zone settings
2011.1 | Date Time | ToUtc | SELECT ToUtc(getdate()) as ResultColumn FROM Orion.Engines | 2015-09-25 15:50 | Time derived from SQL Server time zone settings
2011.1 | Date Time | DateTrunc | SELECT DateTrunc('month', KeepAlive) as ColumnResult FROM Orion.Engines | 2015-09-01 | Supported values for the DatePart argument: Minute, Hour, Week, Day, DayOfYear, Month, Quarter, Year. Not supported: Millisecond, Second.
2011.1 | Date Time | ChangeTimeZone | SELECT ChangeTimeZone(KeepAlive,'+05:00') as ColumnResult FROM Orion.Engines | 2015-09-25 21:22 | The second argument needs to follow the standard timezone offset +/-hh:mm . The date in the database will have its offset changed to the specified timezone offset. The + must be within the ' '
2011.1 | Check Date | Year | SELECT Year(KeepAlive) as ColumnResult from orion.engines | 2015 | Year Returned only
2011.1 | Check Date | QuarterOfyear | SELECT QuarterofYear(KeepAlive) as ColumnResult from orion.engines | 3 | Quarters 1-4
2011.1 | Check Date | DayOfYear | SELECT DayofYear(KeepAlive) as ColumnResult from orion.engines | 268 | julian date
2015.2 | Check Date | WeekDay | SELECT WeekDay(KeepAlive) as ColumnResult from orion.engines | 2 | 2= Tuesday, 4=Thursday, 6=Saturday
2011.1 | Check Date | Month | SELECT Month(KeepAlive) as ColumnResult from orion.engines | 9 | Shows only Month
2011.1 | Check Date | Week | SELECT Week(KeepAlive) as ColumnResult from orion.engines | 39 | Shows only Week Number
2011.1 | Check Date | Day | SELECT Day(KeepAlive) as ColumnResult from orion.engines | 25 | Shows Day of month
2011.1 | Check Date | Hour | SELECT Hour(KeepAlive) as ColumnResult from orion.engines | 16 | Shows hour
2011.1 | Check Date | Minute | SELECT Minute(KeepAlive) as ColumnResult from orion.engines | 15 | shows minutes
2011.1 | Check Date | Second | SELECT Second(KeepAlive) as ColumnResult from orion.engines | 45 | shows seconds
2011.1 | Check Date | Millisecond | SELECT MilliSecond(KeepAlive) as ColumnResult from orion.engines | 613 | shows miliseconds
2014.2 | Add to Current DateTime | AddDate | SELECT AddDate('month', 2, KeepAlive) AS ColumnResult From Orion.Engines | 2015-11-25 16:39 | Add time to current Date Supported values for DatePart Millisecond, Second, Minute, Hour, Week, Day, Month, Year
2014.2 | Add to Current DateTime | AddYear | SELECT AddYear(5, KeepAlive) AS ColumnResult From Orion.Engines | 2020-09-25 16:26 | 5 is the number of Years
2014.2 | Add to Current DateTime | AddMonth | SELECT AddMonth(5, KeepAlive) AS ColumnResult From Orion.Engines | 2016-02-25 16:26 | 5 is the number of Months
2014.2 | Add to Current DateTime | AddWeek | SELECT AddWeek(7, KeepAlive) AS ColumnResult From Orion.Engines | 2015-11-13 16:27 | 7 is the number of Weeks
2014.2 | Add to Current DateTime | AddDay | SELECT AddDay(17, KeepAlive) AS ColumnResult From Orion.Engines | 2015-10-12 16:30 | 17 is the number of Days
2014.2 | Add to Current DateTime | AddHour | SELECT Addhour(1, KeepAlive) AS ColumnResult From Orion.Engines | 2015-09-25 17:31 | 1 is the number of hours
2014.2 | Add to Current DateTime | AddMinute | SELECT Addminute(30, KeepAlive) AS ColumnResult From Orion.Engines | 2015-09-25 17:02 | 30 is the number of Minutes
2014.2 | Add to Current DateTime | AddSecond | SELECT AddSecond(13, KeepAlive) AS ColumnResult From Orion.Engines | 2015-09-25 16:33 | 13 is the number of seconds
2014.2 | Add to Current DateTime | AddMillisecond | SELECT AddMillisecond(1, NextPoll) AS NextPoll From Orion.Nodes |  | 1 is the number of Miliseconds
2011.1 | Difference from Current DateTime | YearDiff | SELECT YearDiff(KeepAlive,'1/01/2020 0:0:0 AM') as ColumnResult from orion.engines | 5 | Year Difference
2011.1 | Difference from Current DateTime | MonthDiff | SELECT MonthDiff(KeepAlive,KeepAlive+28) as ColumnResult from orion.engines | 1 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | WeekDiff | SELECT WeekDiff(KeepAlive,KeepAlive+28) as ColumnResult from orion.engines | 4 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | DayDiff | SELECT DayDiff(KeepAlive,KeepAlive+28) as ColumnResult from orion.engines | 28 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | HourDiff | SELECT HourDiff(KeepAlive,KeepAlive+28) as ColumnResult from orion.engines | 672 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | MinuteDiff | SELECT MinuteDiff(KeepAlive,KeepAlive+28) as ColumnResult from orion.engines | 40320 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | SecondDiff | SELECT SecondDiff(KeepAlive, KeepAlive + 1) as a FROM Orion.Engines | 2419200 | +28 is the number of days difference from the Keepalive Column
2011.1 | Difference from Current DateTime | MillisecondDiff | SELECT MillisecondDiff(KeepAlive,KeepAlive+24) as ColumnResult from orion.engines | 2073600000 | 24 is the number of days. 24 is also the max that can used for this query
2013.1 | Difference from Current DateTime | Floor | SELECT floor(ResponseTime) as ResultColumn FROM Orion.Nodes |  | The FLOOR() rounded up any positive or negative decimal value down to the next least integer value.
2013.1 | Difference from Current DateTime | Ceiling | SELECT ceiling(ResponseTime) as ResultColumn FROM Orion.Nodes |  | The Ceiling() will rounded up any positive or negative decimal value within the function upwards.
2013.1 | Difference from Current DateTime | Round | SELECT round(ResponseTime, PercentLoss) as ResultColumn FROM Orion.Nodes |  | The ROUND() function is used to round a numeric field to the number of decimals specified.
2013.1 | String | ToString | SELECT ToString(101) as ResultColumn FROM SWISTable | 101
2013.1 | String | EscapeSWISUriValue | SELECT Uri, EscapeSWISUriValue(Uri) as c FROM Orion.Engines | swis://Srvname./Orion/Orion.Engines/EngineID=1, "swis://Srvname./Orion/Orion.Engines/EngineID=1"
2013.1 | String | SplitStringToArray | SELECT SplitStringToArray('Hello¦§¦§¦world') as a FROM Orion.Engines | [Hello, world]
2013.1 | String | ToUpper | SELECT ToUpper ('TeStStRiNg') as CapString from Orion.Engines | TESTSTRING
2013.1 | String | ToLower | SELECT ToLower ('TeStStRiNg') as LowString from Orion.Engines | teststring
2013.1 | String | Concat | SELECT Concat ('The ', 'most ','awesome ', 'string') as ConString from Orion.Engines | The most awesome string
2013.1 | String | SubString | SELECT SubString ('123456789', 3, 6) as TestSubString from Orion.Engines | 345678
2015.2 | String | Length | SELECT Length(ServerName) as NameLength FROM Orion.Engines | 14 | Works just for String properties
2015.1 | Array | ArrayLength | SELECT ArrayLength(MemberAncestorDetailsUrls) AS ColumnResult FROM Orion.ContainerMembers | 1 | in case array is NULL -> it returns NULL
2015.1 | Array | ArrayValueAt | SELECT ArrayValueAt(MemberAncestorDetailsUrls,0) AS ColumnResult FROM Orion.ContainerMembers | /Orion/NetPerfMon/ContainerDetails.aspx?NetObject=C:8 | in case array is NULL -> it returns NULL,index starts with 0, in case index is out of range -> query fails

## SWIS Table Reference info
Module | SWIS Table | Name | NetObjectType Prefix | KeyProperty column | SWIS Parent Table | Column Details
Agent | Orion.AgentManagement.Agent | Core Agents |  | AgentId, AgentGuid, NodeId, PollingEngineID | Orion.Nodes | Name
Core | Orion.AlertStatus | Core Alerts |  | AlertDefID, ActiveObject, AlertObjectID |  | AlertMessage
Core | Orion.AssetInventory.NodeWarrantyAlert | Node Warranty | NWA | NodeID | Orion.Nodes
Core | Orion.AuditingEvents | Auditing Events |  | AuditEventID
Core | Orion.ContainerMembers | Group Member | GM | ContainerID
Core | Orion.ContainerMembers | Group Member | GM | MemberEntityType
Core | Orion.ContainerMembers | Group Member | GM | MemberPrimaryID
Core | Orion.Events | Core Events |  | EventID |  | NetObjectType
Core | Orion.EventTypes | Core Event Types |  | EventType | Orion.Events | Name
Core | Orion.Groups | Group | C | ContainerID
Core | Orion.Nodes | Node | N | NodeID | Orion.Engines
Core | Orion.NodeVlans | VLAN | NVLAN | NodeID | Orion.Nodes
Core | Orion.NodeVlans | VLAN | NVLAN | VlanId | Orion.Nodes
Core | Orion.Volumes | Volume | V | VolumeID
DPA | Orion.DPA.DatabaseInstance | Database Instance | DBI | DatabaseInstanceID
IPAM | IPAM.DHCPScopeOverlapping | IPAM DHCPScopes Overlapping | IPAM-DSO | ScopeId
IPAM | IPAM.GroupReport | IPAM Networks | IPAMG | GroupId
IPAM | IPAM.IPConflict | IPAM IPAddress Conflict | IPAMN | IPNodeId
IPAM | IPAM.IPNodeReport | IPAM Nodes | IPAMN | IPNodeId
NCM | Cirrus.Nodes | NCM Nodes |  | NodeID, CoreNodeID, EngineID |  | NodeCaption
NPM | Orion.F5.Device | F5 Devices | F5 | ID
NPM | Orion.F5.Nodes | F5 Nodes | FN | ID
NPM | Orion.F5.Pools | F5 Pools | FP | ID
NPM | Orion.F5.VirtualServers | F5 Virtual Servers | FVS | ID
NPM | Orion.NPM.CustomPollerAssignmentOnInterface | Custom Interface Poller | UNDPI | CustomPollerAssignmentID
NPM | Orion.NPM.CustomPollerAssignmentOnNode | Custom Node Poller | UNDPN | CustomPollerAssignmentID
NPM | Orion.NPM.CustomPollerStatusOnNodeTabular | Custom Node Table Poller | UNDPT | CompressedRowID
NPM | Orion.NPM.CustomPollerStatusOnNodeTabular | Custom Node Table Poller | UNDPT | CustomPollerAssignmentID
NPM | Orion.NPM.EW.Entity | EnergyWise Entity | EWE | ID
NPM | Orion.NPM.FCPorts | Fibre Channel Port | FCP | Index
NPM | Orion.NPM.FCPorts | Fibre Channel Port | FCP | UnitID
NPM | Orion.NPM.FCRevisions | Fibre Channel Revision | FCR | Index
NPM | Orion.NPM.FCRevisions | Fibre Channel Revision | FCR | UnitID
NPM | Orion.NPM.FCSensors | Fibre Channel Sensor | FCS | Index
NPM | Orion.NPM.FCSensors | Fibre Channel Sensor | FCS | UnitID
NPM | Orion.NPM.FCUnits | Fibre Channel Unit | FCU | ID
NPM | Orion.NPM.Interfaces | Interface | I | InterfaceID
NPM | Orion.NPM.MulticastRouting.GroupNodes | Multicast Routing | MCGN | MulticastGroupNodeID
NPM | Orion.NPM.MulticastRouting.Groups | Multicast Routing Group | MCG | MulticastGroupID
NPM | Orion.NPM.UCSBlades | UCS Blade | UCSB | ID
NPM | Orion.NPM.UCSChassis | UCS Chassis | NCH | ID
NPM | Orion.NPM.UCSFabrics | UCS Fabric | UCSF | ID
NPM | Orion.NPM.UCSFans | UCS Fan | UCSFAN | ID
NPM | Orion.NPM.UCSManagers | UCS Manager | UCSM | NodeID | Orion.Nodes
NPM | Orion.NPM.UCSPSUs | UCS Psu | UCSPSU | ID
NPM | Orion.NPM.VSANs | VSAN | NVS | ID
NPM | Orion.Packages.Wireless.AccessPoints | Wireless Access Point | WLAP | ID
NPM | Orion.Packages.Wireless.Controllers | Wireless Controller | WLC | NodeID | Orion.Nodes
NPM | Orion.Routing.Neighbors | Routing Neighbors | NBR | NeighborID
NPM | Orion.Routing.VRF | VRF | VRF | VrfIndex
NPM | Orion.WirelessHeatMap.Map | Wireless Heatmap | WLHM | MapID
NPM / SAM | Orion.HardwareHealth.HardwareCategoryStatus | Hardware Type | HWHT | ID
NPM / SAM | Orion.HardwareHealth.HardwareInfo | Hardware | HWH | ID
NPM / SAM | Orion.HardwareHealth.HardwareItem | Hardware Sensor | HWHS | ID
NTA | Orion.Netflow.CBQoSPolicyMetric | NTA: CBQoS Class Map | CCM | MetricID
QoE | Orion.DPI.ApplicationAssignments | QoE Application (per node) |  | ApplicationID | Orion.APM.Application
QoE | Orion.DPI.ApplicationAssignments | QoE Application (per node) |  | NodeID | Orion.Nodes
QoE | Orion.DPI.Applications | QoE Application |  | ApplicationID | Orion.APM.Application | Name
QOE | Orion.DPI.Probes | QoE Probes |  | ProbeID, AgentID | Orion.AgentManagement.Agent (AgentID) Orion.DPI.ProbeAssignments (ProbeID) | DisplayName
QoE | Orion.Engines | Core Servers |  | EngineID
SAM | Orion.APM.Application | APM: Application | AA | ApplicationID | Orion.Nodes | ApplicationName
SAM | Orion.APM.Component | APM: Component | AM | ComponentID | Orion.APM.Application | ComponentName
SAM | Orion.APM.Exchange.Application | AppInsight for Exchange: Application | ABXA | ApplicationID | Orion.APM.Application
SAM | Orion.APM.Exchange.Database | AppInsight for Exchange: Database | ABXD | ID
SAM | Orion.APM.Exchange.DatabaseCopy | AppInsight for Exchange: Database Copy | ABXDC | ItemID
SAM | Orion.APM.Exchange.DatabaseFile | AppInsight for Exchange: Database File | ABXF | DatabaseFileID
SAM | Orion.APM.Exchange.Mailbox | AppInsight for Exchange: Mailboxes | ABXMB | ID
SAM | Orion.APM.Exchange.ReplicationStatus | AppInsight for Exchange: Replication Status | ABXR | ID
SAM | Orion.APM.GenericApplication | Application | AA | ApplicationID | Orion.APM.Application
SAM | Orion.APM.IIS.Application | AppInsight for IIS: Application | ABIA | ApplicationID | Orion.APM.Application
SAM | Orion.APM.IIS.ApplicationPool | AppInsight for IIS: Application Pool | ABIP | ItemID
SAM | Orion.APM.IIS.Request | AppInsight for IIS: Request | ABIR | ID
SAM | Orion.APM.IIS.RequestDetails | AppInsight for IIS: Request Details | ABIRD | ID
SAM | Orion.APM.IIS.Site | AppInsight for IIS: Site | ABIS | ItemID
SAM | Orion.APM.IIS.SiteBinding | AppInsight for IIS: Site Binding | ABISB | ID
SAM | Orion.APM.SqlDatabase | AppInsight for SQL: Database | ABSD | ItemID
SAM | Orion.APM.SqlDatabaseFile | AppInsight for SQL: Database File | ABSF | DatabaseFileID
SAM | Orion.APM.SqlJobInfo | AppInsight for SQL: Job Info | ABSJ | JobInfoID
SAM | Orion.APM.SqlQuery | AppInsight for SQL: Expensive Queries Info | ABSQ | QueryID
SAM | Orion.APM.SqlServerApplication | AppInsight for SQL: Application | ABSA | ApplicationID | Orion.APM.Application
SAM | Orion.APM.Wstm.Task | APM: Windows Scheduled Tasks | ABTT | ID
SRM | Orion.SRM.Engines | Polling Engines |  | EngineID
SRM | Orion.SRM.FIleServerIdentification | SRM File Server ID |  |  | Orion.SRM.Volumes
SRM | Orion.SRM.FileServers | SRM File Server |  |  | Orion.SRM.Volumes
SRM | Orion.SRM.FileShares | FileShare | SMS | FileShareID | Orion.SRM.Volumes
SRM | Orion.SRM.LUNs | Lun | SML | LUNID | Orion.SRM.Pools
SRM | Orion.SRM.PhysicalDisks | SRM Physical Disks |  |  | Orion.SRM.StorageArrays
SRM | Orion.SRM.Pools | Pool | SMSP | PoolID | Orion.SRM.StorageArrays
SRM | Orion.SRM.Providers | Provider | SMP | ProviderID
SRM | Orion.SRM.StorageArrays | StorageArray | SMSA | StorageArrayID, ArrayID |  | ArrayName
SRM | Orion.SRM.Volumes | NAS Volume | SMV | VolumeID | Orion.SRM.Pools
SRM | Orion.SRM.VServers | VServer | SMVS | VServerID
UDT | Orion.UDT.AccessPortEndpointCount | AccessPort | UP | PortID
UDT | Orion.UDT.DNSNameCurrent | UDT: Hostname | UE-DNS | ID
UDT | Orion.UDT.MovedMACAlert | Moved MAC | UE-MAC | ID
UDT | Orion.UDT.NewMACAlert | New MACAddress | UE-MAC | ID
UDT | Orion.UDT.NewMACVendorAlert | New MAC Vendor | UE-MAC | ID
UDT | Orion.UDT.Port | UDT Port |  | NodeID, PortID, PortIndex | Orion.Nodes | Name
UDT | Orion.UDT.RogueDNSAlert | Rogue DNSName | UE-DNS | DNSNameID
UDT | Orion.UDT.RogueEmptyDNSAlert | Rogue EmptyDNSName | UE-IP | IPAddressID
UDT | Orion.UDT.RogueIPAlert | Rogue IPAddress | UE-IP | IPAddressID
UDT | Orion.UDT.RogueMACAlert | Rogue MACAddress | UE-MAC | EndpointID
UDT | Orion.UDT.WatchListPresent | Watch List | UW | WatchID
VIM | Orion.VIM.Clusters | Virtual Cluster | VMC | ClusterID |  | Name
VIM | Orion.VIM.DataCenters | Virtual DataCenter | VMD | DataCenterID
VIM | Orion.VIM.Datastores | Virtual Datastore | VMS | DataStoreID | Orion.VIM.LUNs | Name
VIM | Orion.VIM.Hosts | Virtual Host | VH | HostID, NodeID, CluserID, DatacenterID
VIM | Orion.VIM.LUNs | Virtual LUN |  | LunID, DatastoreID, |  | Name
VIM | Orion.VIM.VCenters | Virtual Center | VVC | VCenterID
VIM | Orion.VIM.VirtualMachines | Virtual Machine | VVM | VirtualMachineID, HostID, NodeID |  | Name
VNQM | Orion.IpSla.CCMGateways | VoIP Gateway | VG | GatewayID
VNQM | Orion.IpSla.CCMMonitoring | VoIP CallManager | VCCM | NodeID | Orion.Nodes
VNQM | Orion.IpSla.CCMPhones | VoIP Phone | VCCMP | ID
VNQM | Orion.IpSla.CCMRegions | VoIP Region | VR | RegionID
VNQM | Orion.IpSla.InfrastructureNodes | VoIP Infrastructure | P | InfrastructureNodeID
VNQM | Orion.IpSla.Operations | IP SLA QoS | ISOP | OperationInstanceID
VNQM | Orion.IpSla.VoipCallDetails | VoIP Call Details | VCDS | ID
VNQM | Orion.IpSla.VoipGatewayEndpoints | VoIP PRI Trunk | VVGT | VoipGatewayEndpointID
VNQM | Orion.IpSla.VoipGateways | VoIP PRI Gateway | VVG | VoipGatewayID
WPM | Orion.SEUM.Agents | Location | L | AgentId
WPM | Orion.SEUM.Transactions | Transaction | T | TransactionId
WPM | Orion.SEUM.TransactionStepRequests | Step Request | TSR | TransactionStepRequestId
WPM | Orion.SEUM.TransactionSteps | Step | TS | TransactionStepId

## Status IDs
Status | Status Name | Rank | Description
0 | Unknown | 495 | Has not been polled yet since being added to the system or coming out of Unmanaged status. For IP SLA operations: when we could not contact the router to collect the results of the IP SLA operation.
1 | Up | 500 | Responding fine
2 | Down | 110 | Not responding
3 | Warning | 220 | For Nodes - node is not responding to pings; if this continues for two minutes, node will be marked Down. For Applications – monitored metric exceeds the warning threshold
4 | Shutdown | 496 | Applies to network interfaces only
5 | Testing | 480 | Applies to network interfaces only
6 | Dormant | 560 | Applies to network interfaces only
7 | Not Present | 470 | Applies to network interfaces only
8 | Lower Layer Down | 130 | Applies to network interfaces only
9 | Unmanaged | 499 | The object is unmanaged (in a maintenance window configured in Orion)
10 | Unplugged | 498 | For Interfaces – you can set an interface to be “unpluggable”. In this case it will either be Up or Unplugged instead of the usual Up or Down. See the doc.
11 | External | 440 | For Nodes – you can configure a node as “external”. In this case Orion does not ping the node for Up/Down status, but you can still assign other monitors to it. See the doc.
12 | Unreachable | 150 | Object status cannot be determined because it is dependent on another node that is currently down. See the doc.
14 | Critical | 210 | Nodes - Monitored Metric exceedes Critical threshold. For Applications – monitored metric exceeds the Critical threshold
15 | Partly Available | 230 | Not used for individual objects.
16 | Misconfigured | 240
17 | Could Not Poll | 250
19 | Unconfirmed | 270
22 | Active | 540
24 | Inactive | 570
25 | Expired | 580
26 | Monitoring Disabled | 450
27 | Disabled | 460
28 | Not Licensed | 490 | SAM: For Applications – there are more component monitors assigned than there are licenses available.
29 | Other Category | 1000 | Never to be placed on an object. CategoryStatusMap allows joining back to StatusInfo to place statues into one of several buckets. This status value is the result of a status that is not "relevant" from an "issue" perspective and deserves to be in the "other" bucket.
30 | Not Running | 498 | For SAM processes and IIS Application Pools that are not running. This status is not issue (it is expected state) so it is ignored in final application status roll up.